CRIT MODULE 03

RETROFITTING MANUAL (FLOOD, HEAT, STORM)

For Existing Public Schools

1. PURPOSE

This manual provides practical retrofitting solutions to strengthen existing school infrastructure against climate hazards. It supports low-cost, scalable improvements to reduce closures, improve safety, and protect learning continuity.

2. RETROFITTING PRINCIPLES

- Prioritize child safety and structural stability

- Apply low-cost preventive upgrades

- Use locally available materials where possible

- Ensure community participation in maintenance

- Integrate gender and disability inclusion

3. FLOOD RETROFITTING PACKAGE

Recommended actions:

3.1 Drainage Improvement

- Construct/repair perimeter drainage channels

- Ensure slope away from classrooms

- Install soak pits and rainwater outlets

3.2 Plinth and Foundation Protection

- Raise entry thresholds

- Apply damp-proof course where missing

- Waterproof lower wall sections

3.3 Flood Barriers and Protection

- Install temporary flood barriers at entrances

- Reinforce boundary wall where water enters

3.4 Safe Storage and Learning Materials Protection

- Elevated storage shelves

- Waterproof storage containers for books

4. HEAT MITIGATION RETROFITTING PACKAGE

4.1 Cool Roof Measures

- Reflective roof coating (“cool roof paint”)

- Roof insulation using cost-effective materials

4.2 Shading and Tree Plantation

- Plant shade trees in compound

- Install veranda shading structures

- Add window overhangs

4.3 Ventilation Improvement

- Add ventilators near roofline

- Improve window placement for cross ventilation

- Install ceiling fans (solar where feasible)

4.4 Water and Hydration Safety

- Drinking water points accessible

- Water storage tank for heat season

5. STORM AND WIND RESILIENCE PACKAGE

- Reinforce roof anchoring

- Replace weak roof sheets

- Strengthen doors and windows

- Remove unsafe external structures

- Trim dangerous trees near classrooms

6. WASH RESILIENCE RETROFITTING PACKAGE

- Raise toilets in flood-prone areas

- Improve septic tanks and drainage

- Add handwashing stations with drainage outlets

- Ensure privacy and lighting for girls

7. ELECTRICAL AND FIRE SAFETY PACKAGE

- Replace exposed wiring

- Install circuit breakers

- Provide fire extinguishers

- Mark emergency exits

8. ACCESSIBILITY RETROFITTING PACKAGE

- Install ramps with safe slope

- Improve pathways for wheelchair access

- Construct accessible toilets

- Add handrails and signage

9. IMPLEMENTATION PROCESS

Step 1: Conduct CRIT risk assessment (Module 01)

Step 2: Select retrofit package(s)

Step 3: Prepare BOQ and cost estimate

Step 4: Contractor selection and safeguards compliance

Step 5: Implement works with quality monitoring

Step 6: Community orientation and maintenance plan

Step 7: Post-retrofit evaluation and reporting

10. OUTPUTS AND DOCUMENTATION

Minimum documentation required:

- Before and after photos

- BOQ and receipts

- Safety compliance checklist

- Community maintenance plan

- Completion certificate