CRIT MODULE 03

SITE SAFETY AND CONSTRUCTION QUALITY CHECKLIST

(Climate-Resilient School Infrastructure Toolkit)

Document Purpose:

This checklist ensures that all retrofitting and rehabilitation works under CRIT comply with minimum safety, child protection, and construction quality standards. It is to be used by district engineers, site supervisors, contractors, and implementing partners.

------------------------------------------------------------

SECTION A: PROJECT IDENTIFICATION

------------------------------------------------------------

School Name: ___________________________________________

EMIS Code: _____________________________________________

District/Tehsil/UC: ______________________________________

Contractor Name: ________________________________________

Implementing Partner (if applicable): ______________________

Site Supervisor Name: ____________________________________

Start Date: _____________________________________________

Expected Completion Date: _________________________________

Inspection Date: _________________________________________

------------------------------------------------------------

SECTION B: CHILD SAFEGUARDING AND SITE ACCESS CONTROL

------------------------------------------------------------

B1. Site is fenced/isolated from student access: Yes / No

B2. Warning signs displayed in local language: Yes / No

B3. Construction materials stored safely away from children: Yes / No

B4. Tools and sharp equipment secured after working hours: Yes / No

B5. Safe temporary pathways for children provided: Yes / No

B6. Contractor workers briefed on child safeguarding code: Yes / No

B7. No child labor observed: Yes / No

B8. Complaints mechanism displayed and functional: Yes / No

B9. Female-friendly arrangements ensured (if required): Yes / No

Comments:

__________________________________________________________

------------------------------------------------------------

SECTION C: WORKER SAFETY COMPLIANCE

------------------------------------------------------------

C1. Workers using helmets and protective gear: Yes / No

C2. Workers using gloves and safety shoes: Yes / No

C3. First aid kit available on-site: Yes / No

C4. Drinking water available for workers: Yes / No

C5. Fire extinguisher available (if electrical work): Yes / No

C6. Electrical equipment handled safely: Yes / No

C7. Hazardous materials stored correctly: Yes / No

Comments:

__________________________________________________________

------------------------------------------------------------

SECTION D: QUALITY OF MATERIALS (VISUAL INSPECTION)

------------------------------------------------------------

D1. Cement bags stored in dry conditions: Yes / No

D2. Bricks quality checked (not broken/weak): Yes / No

D3. Sand is clean (not mixed with clay): Yes / No

D4. Steel reinforcement meets standard size/quality: Yes / No

D5. Roofing sheets/structures are durable and safe: Yes / No

D6. Cool roof paint/insulation is correct specification: Yes / No

D7. Pipes and drainage materials are correct grade: Yes / No

Comments:

__________________________________________________________

------------------------------------------------------------

SECTION E: STRUCTURAL QUALITY CHECKS

------------------------------------------------------------

E1. Foundation/plinth works match approved design: Yes / No

E2. Wall plastering and reinforcement adequate: Yes / No

E3. Roof anchoring and fastening complete: Yes / No

E4. No visible structural cracks after repairs: Yes / No

E5. Doors and windows installed securely: Yes / No

E6. Boundary wall repair meets safety standards: Yes / No

Comments:

__________________________________________________________

------------------------------------------------------------

SECTION F: FLOOD AND DRAINAGE COMPLIANCE

------------------------------------------------------------

F1. Drainage channels constructed as per plan: Yes / No

F2. Drainage slope ensures water flows away: Yes / No

F3. Soak pits/rain outlets completed: Yes / No

F4. Waterlogging eliminated from key school areas: Yes / No

F5. Toilets protected from overflow during rainfall: Yes / No

Comments:

__________________________________________________________

------------------------------------------------------------

SECTION G: HEAT MITIGATION AND VENTILATION COMPLIANCE

------------------------------------------------------------

G1. Cool roof treatment applied properly: Yes / No

G2. Roof insulation installed where planned: Yes / No

G3. Cross ventilation ensured (windows/vents): Yes / No

G4. Shading/veranda structures completed: Yes / No

G5. Trees/shade plantation completed (if included): Yes / No

Comments:

__________________________________________________________

------------------------------------------------------------

SECTION H: WASH AND INCLUSION COMPLIANCE

------------------------------------------------------------

H1. Toilets functional and usable: Yes / No

H2. Separate toilets for girls ensured: Yes / No

H3. Toilets accessible for children with disabilities: Yes / No

H4. Handwashing station installed and connected: Yes / No

H5. Drinking water source functional and safe: Yes / No

Comments:

__________________________________________________________

------------------------------------------------------------

SECTION I: ELECTRICAL AND SAFETY COMPLIANCE

------------------------------------------------------------

I1. Wiring is insulated and protected: Yes / No

I2. Switchboards installed safely out of reach: Yes / No

I3. Circuit breaker installed: Yes / No

I4. Fans/lights tested and functional: Yes / No

I5. Emergency exits not blocked: Yes / No

Comments:

__________________________________________________________

------------------------------------------------------------

SECTION J: FINAL INSPECTION AND COMPLETION

------------------------------------------------------------

J1. Work completed according to BOQ and design: Yes / No

J2. Site cleaned and debris removed: Yes / No

J3. School safe for children to return: Yes / No

J4. Maintenance plan handed over to SMC: Yes / No

J5. Completion photos documented: Yes / No

J6. Completion certificate signed: Yes / No

Overall Quality Rating (tick):

[ ] Excellent   [ ] Good   [ ] Satisfactory   [ ] Poor (needs correction)

Inspector Name: ________________________________________

Designation/Department: _________________________________

Signature: _____________________________________________

Date: _________________________________________________