CRIT MODULE 01

SCHOOL VULNERABILITY ASSESSMENT CHECKLIST

(Climate-Resilient School Infrastructure Toolkit)

A. SCHOOL IDENTIFICATION

1. School Name: _______________________________

2. EMIS Code: ________________________________

3. District/Tehsil/UC: _________________________

4. GPS Coordinates: ___________________________

5. School Level: Primary / Middle / Secondary

6. Gender: Boys / Girls / Mixed

7. Total Enrolment: ______ Boys: ____ Girls: ____

8. No. of Classrooms: ______

9. Date of Assessment: _________________________

B. CLIMATE AND DISASTER HISTORY (Past 5 Years)

Tick and provide notes:

[ ] Flooding

[ ] Waterlogging

[ ] Heatwaves

[ ] Storm damage

[ ] Earthquake impact

[ ] Drought/water shortage

Notes: ________________________________________

C. SITE AND LOCATION RISK

1. School is located in a low-lying area: Yes/No

2. Nearby river/canal/drain within 1 km: Yes/No

3. Drainage system available around school: Yes/No

4. Evidence of erosion or land subsidence: Yes/No

5. Access road becomes unusable during rain/flood: Yes/No

6. School is located near industrial pollution sources: Yes/No

Comments: _____________________________________

D. STRUCTURAL SAFETY

1. Visible cracks in walls: None / Minor / Major

2. Roof condition: Safe / Leakage / Weak structure

3. Foundation/plinth height sufficient for flood protection: Yes/No

4. Columns/beams condition: Safe / Minor damage / Unsafe

5. Classroom doors/windows functional: Yes/No

6. Evidence of termites/decay (wood): Yes/No

Comments: _____________________________________

E. HEAT AND THERMAL COMFORT

1. Ventilation adequate (cross ventilation): Yes/No

2. Roof material contributes to heat (metal/tin): Yes/No

3. Shade trees or shading structures exist: Yes/No

4. Fans available and functional: Yes/No

5. Drinking water access during heat season: Yes/No

6. Temperature management measures in place: Yes/No

Comments: _____________________________________

F. FLOOD AND RAIN RESILIENCE

1. Rainwater drains away from building: Yes/No

2. Standing water observed in compound: Yes/No

3. Toilets overflow during rain/flood: Yes/No

4. School boundary wall provides flood protection: Yes/No

5. School has raised storage for learning materials: Yes/No

Comments: _____________________________________

G. WASH INFRASTRUCTURE

1. Functional toilets available: Yes/No

2. Separate toilets for girls: Yes/No

3. Toilets accessible for children with disabilities: Yes/No

4. Handwashing facility available: Yes/No

5. Clean drinking water source functional: Yes/No

6. WASH facilities climate-resilient (flood-safe): Yes/No

Comments: _____________________________________

H. ELECTRICAL AND FIRE SAFETY

1. Electrical wiring is safe and covered: Yes/No

2. Circuit breakers installed: Yes/No

3. Fire extinguisher available: Yes/No

4. Emergency exits clear: Yes/No

5. Cooking/heating areas safe: Yes/No

Comments: _____________________________________

I. ACCESSIBILITY AND INCLUSION

1. Ramps available for wheelchair access: Yes/No

2. Safe pathways for children with disabilities: Yes/No

3. Gender-sensitive privacy measures in toilets: Yes/No

4. Safe space for adolescent girls: Yes/No

Comments: _____________________________________

J. SCHOOL EMERGENCY PREPAREDNESS

1. School has disaster management plan: Yes/No

2. Evacuation route marked: Yes/No

3. Assembly point identified: Yes/No

4. First aid kit available: Yes/No

5. Teacher training on emergency response: Yes/No

Comments: _____________________________________

K. OVERALL ASSESSMENT SUMMARY

Overall Safety Status (tick one):

[ ] Safe (minor improvements needed)

[ ] Moderate Risk (retrofitting needed)

[ ] High Risk (priority intervention needed)

[ ] Unsafe (immediate action required)

Key Recommendations (brief):

_________________________________________________

_________________________________________________

Assessor Name: _________________________________

Organization/Department: _______________________

Signature: _____________________________________

Date: _________________________________________