CRIT MODULE 02

MODULAR CLIMATE-RESILIENT SCHOOL DESIGN GUIDELINES

(Design and Construction Standards for Safe Learning Spaces)

1. PURPOSE

These guidelines support climate-resilient design of schools in flood-prone, heat-exposed, storm-affected, and disaster-vulnerable districts. They provide minimum resilience standards aligned with UNICEF Safe Schools principles and national education infrastructure priorities.

2. DESIGN PRINCIPLES

All school designs must follow:

- Child safety and structural integrity

- Climate adaptation and hazard protection

- Inclusive accessibility (disability-friendly)

- Gender-responsive WASH and privacy

- Cost efficiency and local constructability

- Sustainability and low-carbon design where feasible

3. SITE SELECTION GUIDELINES

Minimum requirements:

- Avoid low-lying flood basins and river overflow zones

- Ensure safe access routes during rainy season

- Prefer sites with natural drainage slope

- Ensure minimum safe distance from industrial hazards

- Assess soil stability and erosion risk

Recommended checklist:

- Flood risk assessment conducted

- Drainage plan developed

- Road access ensured year-round

- Space for assembly area and evacuation route

4. FLOOD-RESILIENT DESIGN FEATURES

Minimum standards:

- Raised plinth/foundation above local flood line

- Reinforced drainage channels around perimeter

- Flood-resistant wall base materials

- Elevated storage rooms for learning materials

- Water-resistant flooring materials

Suggested design options:

- Raised platform school layout

- Protective boundary embankment (where feasible)

- Dual drainage system (surface + soak pit)

5. HEAT MITIGATION AND THERMAL COMFORT

Minimum standards:

- Cross ventilation (windows on opposite walls)

- Roof insulation or reflective “cool roof” treatment

- Shading (trees, verandas, overhangs)

- Heat-resistant roofing material preference

Recommended features:

- Veranda corridor on sun-facing side

- High ceiling design for airflow

- Courtyard-based design for passive cooling

- Solar-powered fans where grid supply is weak

6. STORM AND WIND RESILIENCE

Minimum standards:

- Roof anchoring and reinforcement

- Strong truss system

- Storm-resistant window frames

- Removal of loose external structures

7. EARTHQUAKE RESILIENCE (where applicable)

Minimum standards:

- Reinforced concrete bands (lintel and plinth bands)

- Proper column-beam connections

- Lightweight roofing materials

- Avoid unreinforced masonry

8. WASH RESILIENCE DESIGN

Minimum standards:

- Toilets elevated in flood-prone zones

- Separate toilets for girls with privacy measures

- Handwashing stations with drainage

- Water storage facility for drought/heat conditions

9. INCLUSIVE ACCESS DESIGN

Minimum standards:

- Ramp access to classrooms

- Accessible toilets for children with disabilities

- Safe pathways and handrails

- Lighting and signage for safe navigation

10. SCHOOL SAFETY AND EMERGENCY DESIGN

Minimum standards:

- Clearly defined evacuation routes

- Safe assembly area

- Emergency exit doors for classrooms

- First aid station space

11. RECOMMENDED MATERIALS (LOCAL AND COST-EFFICIENT)

Preferred:

- Reinforced concrete base where feasible

- Burnt brick masonry with damp-proof course

- Reflective roofing paint/coating

- Locally available insulation solutions

- Durable doors and window frames

12. MAINTENANCE AND LIFE-CYCLE DESIGN

Design must incorporate:

- Easy-to-clean drainage channels

- Replaceable roof panels where required

- Routine inspection schedule

- Community maintenance plan integration

13. DESIGN COMPLIANCE CHECKLIST

Each new school design must confirm:

- Hazard risk screening completed

- Structural safety verified by qualified engineer

- Flood/heat/storm mitigation included

- WASH facilities meet minimum standards

- Inclusive access included

- Community consultation completed